BILL NO. 32 - 2011

ORDINANCE NO. 2011-

AN ORDINANCE OF THE CITY OF BETHLEHEM,

COUNTIES  OF  LEHIGH AND  NORTHAMPTON,

COMMONWEALTH OF PENNSYLVANIA, ADOPTING

THE  2012 CAPITAL  BUDGET  FOR  SEWER

UTILITIES.

THE COUNCIL OF THE CITY OF BETHLEHEM HEREBY ORDAINS:

SECTION 1.  The following Capital Budget for Sewer Utilities is hereby adopted for 2012 and appropriations are hereby made as indicated below:

SECTION 2.  Appropriations in the sum of Fifteen Million, Eighty-Four Thousand, Seven Hundred Eighty-Eight ($15,084,788) Dollars are hereby made from the sources indicated in Section 3 hereof as follows:

| Sewer Laterals New/Renewal |  |  |  |  | 5,000 |
| --- | --- | --- | --- | --- | --- |
| Collection System New/Renewal |  |  |  |  | 830,000 |
| W Intermediate Clrfr Drive |  |  |  |  | 1 |
| Fine Bar Scrns-Detrtus Rm |  |  |  |  | 100,000 |
| RAS Pump |  |  |  |  | 35,000 |
| Security-Vulnerability |  |  |  |  | 1 |
| Sludge/Gas/Flow Meters Digest. |  |  |  |  | 20,000 |
| Inflow/Infiltration Mitigation |  |  |  |  | 5,000 |
| Ammonia Pretreatment System |  |  |  |  | 1 |
| Regional Act 537 Analysis |  |  |  |  | 1 |
| Chlorinator/Tot Res Anal |  |  |  |  | 25,000 |
| Outfall 004 Relocation |  |  |  |  | 3,250,000 |
| Centrifuge Design |  |  |  |  | 730,000 |
| Pole Building |  |  |  |  | 1 |
| Sewer Maintenance Equipment |  |  |  |  | 199,000 |
| Computer Hardware/Software |  |  |  |  | 7,500 |
| Grit Conveyor System Upgrade |  |  |  |  | 10,000 |
| Odor Control |  |  |  |  | 15,000 |
| Process Upgrades-Waste Activated Sludge |  |  | 70,482 |
| WWT Equipment |  |  |  |  | 56,000 |
| WWT Laboratory Equipment |  |  |  |  | 17,800 |
| N Influent Meter Relocation |  |  |  |  | 1 |
| Facilities Improvement |  |  |  |  | 10,000 |
| Effluent Pumping Upgrade |  |  |  |  | 150,000 |
| Digester WAS Upgrades |  |  |  |  | 9,439,000 |
| Pump Station #1 Pumps |  |  |  |  | 50,000 |
| Raw Sewage Pumps |  |  |  |  | 30,000 |
| WAS Pump and Controller |  |  |  |  | 10,000 |
| East Int. Clarifier |  |  |  |  | 20,000 |
|  |  |  |  |  | 15,084,788 |

#### SECTION 3.  The expenditures listed in Section 2 hereof shall be made from the following sources:

2012 Revenue Sources:

Pennvest Loan					9,439,000

Bank Loan					3,950,000

Line of Credit					   445,788

Capital Appropriations				1,250,000

##### TOTAL	         $15,084,788

2.											B/32/11

Ord. 2011-

SECTION 4.  All Ordinances and parts of Ordinances inconsistent herewith be, and the same are hereby repealed.

Sponsored by:

PASSED finally in Council on the                 day of                                  , 2011.

President of Council

ATTEST:

City Clerk

This Ordinance approved this                      day of                          , 2011.

Mayor